30 June 2025				              My Ref:  CAV/QUO No. 30 of 2024/25

As per annex

ADDENDUM No. 3

Supply, Installation, Testing and Commissioning of Standalone Photovoltaic System Powering Split Type Air Conditioners and Associated Works for VSAT Stations at Agalega and St Brandon

With reference to the abovementioned project, please find hereunder replies to the following queries:

Query 1

Quote

Kindly confirm whether we are required to sign and submit all the tender documents, including drawings, which we received from your end, along with the documents comprising the bid, as per ITB Clause 12.

Unquote

Answer 1

Bidders are required to sign and submit bids comprising of only documents listed in paragraph 12 at Section I: Instructions to Bidders, any other documents mentioned in clauses of the Bid Data Sheet (BDS) at Section II and other information requested in Section V: Schedule of Requirements.

Query 2

Quote

As instructed, it is mentioned that all three sets (1 original and 2 copies) must be enclosed together in one single envelope and submitted to the address specified in the tender. However, we would like to reconfirm whether each of these sets (original and copies) must contain separately sealed envelopes for the technical and financial bids, or if only the outer envelope is sufficient as per the instructions.

Unquote

Answer 2

Technical and financial offers are not required to be submitted separately in original and copies of bidders’ offer. Bidders are required to comply with paragraph 24.1 (a) of Section I: Instructions to Bidders.

Query 3

Quote

As per the evaluation criteria, we understand that only the last three years’ average annual turnovers are to be submitted for financial capability. However, no specific format has been prescribed for the same.

Unquote

Answer 3

The last three years’ average annual turnovers may be submitted as per your format.

Query 4

Quote

Kindly confirm whether any specific mode of transport is available to reach the site location, particularly for transportation and handling of materials and equipment. If available, please provide the relevant details or contact for coordination.

Unquote

Answer 4

The materials and equipment will have to be shipped to Mauritius prior to transporting them to the site locations in Agalega and St Brandon. As detailed at paragraph 4.1.3: Transport and Handling, Section V: Schedule of Requirements, you may coordinate with the Outer Islands Development Corporation (OIDC) for Agalega and with Raphael St Brandon Sportfishing Ltd for St Brandon for the transportation of the equipment and materials to the respective Islands from Mauritius.

For the inland transportation of the materials and equipment in St Brandon, you may coordinate with Raphael St Brandon Sportfishing Ltd to facilitate the transportation of the materials and equipment to/from the site location, which is about 500 metres from the disembarkation point.

As regards the Agalega VSAT Station, you may coordinate with the Outer Islands Development Corporation (OIDC), who has trucks and vans for the inland transportation of materials and equipment to/from the site location from the disembarkation point.

The contact details are as follows:

- St Brandon

Raphael  Fishing Company Ltd/ The Raphaël Fishing Co. Ltd

Address: Praslin Street, Les Salines, Port Louis, Mauritius

Contact Number: +230 210 6468

Email: info@stbrandon.com

- Agalega

OIDC

Address: Ken Lee Building, 2nd Floor, Edith Cavell St, Port Louis

Contact Number: +230 2107769/ +230 2107798

Email: oidcgm@intnet.mu

Query 5

Quote

Please confirm whether the concrete duct is already available or if we need to construct one. If construction is necessary, could you provide the dimensions (length and width) of the cable trench?

Unquote

Answer 5

There is no concrete duct available onsite and same has to be constructed as specified in Section V: Schedule of Requirements. The dimensions of the cable trench will depend on the cables to be supplied for the proposed AC units as per your design.

Query 6

Quote

Where can we obtain the raw power and water required for construction purposes?

Unquote

Answer 6

You have to coordinate with the OIDC for the Agalega site and Raphael St Brandon Sportfishing Ltd for the St Brandon site for power supply and water. You may wish to bring your own portable generators. Please refer to the reply of query no. 4 for the contact details.

Query 7

Quote

Given that this is a remote island, should we arrange to transport our food from the main island, or is there a possibility of food availability at the site? Additionally, is there any accommodation facility available?

Unquote

Answer 7

For food and accommodation arrangements onsite, coordination has to be made with the OIDC for Agalega and Raphael St Brandon Sportfishing Ltd for St Brandon. Please refer to the reply of query no. 4 for the contact details.

A BOOJHAWON (Mrs)

for Director of Civil Aviation