Clarification – Procurement of Confocal Microscope – at University of Technology, Mauritius.

Proc. Ref: UTM/G/OAB 16/2025-2026

Quote 1.

 The request lists only the confocal part and there is no microscope in the requirement. Does this mean that you only require the confocal part and are upgrading an existing microscope? If so, kindly provide the make and model of the microscope that you are upgrading to ensure compatibility of confocal system we should offer.

Reply 1.

A complete system is required with a compatible inverted microscope as per Specification that have been provided.

Quote 2.

 If you are not upgrading an existing microscope, kindly add the specifications of the required microscope to add to the confocal system.

Reply 2.

Inverted microscope compatible with the confocal specifications

Quote 3.

 Regarding the training; how many users will require training?

Reply 3.

4-5 users

Quote 4.

 Are there any particular applications, sample types, or advanced features that you want to be included in this training?

Reply 4.

training could include dual fluorophore analysis, image stitching, z-stack analysis, signal quantification (ex: MFI)

Quote 5.

 Do you require incubation?

Reply 5.

within the instrument - no, all pre-processing and mounting to be done off equipment.

Quote 6.

 How deep to you need to image?

Reply 6.

range 100-200um

Quote 7.

 What sample types will you be using, eg., Cell lines, tissue, model organisms?

Reply 7.

tissues, cell lines and c. elegans

Quote 8.

 What sample holders do you need eg. Slides, dishes, well plates?

Reply 8.

slides (dishes and well plates to quote as optional elements)

Quote 9.

 What dyes / probes do you intend to image with FLIM?

Reply 9.

Alexa Fluor pairs/EGFP-mCherry, GFP

Quote 10.

 What dye pairs do you intend to use for FRET?

Reply 10.

Alexa Fluor pairs/EGFP-mCherry

Quote 11.

 Do you have any specific objective lens requirements, eg., particular magnifications or immersion types (air, water, silicone, oil)?

Reply 11.

10x-100x - oil immersion and optional air or water.

Quote 12.

 Do you require an anti-vibration table?

Reply 12.

as an optional element to quote

Please note that the Closing Date remain unchanged, i.e., 08th April 2026 by 14:00 pm at latest.